Solution

Task 1

1.

1.1. 	T0 = 24 oC

Vsamp= 580.6 mV

1.2. 	Vsamp(50oC) = 528.6 mV

Vsamp(70oC) = 488.6 mV

Vsamp(80oC) = 468.6 mV

2.

2.1. Data of cooling-down process without sample:

| t (s) | Vsamp (mV) | ΔV (mV) |
| --- | --- | --- |
| 0 | 455,51 | -0,4334909 |
| 10 | 456,31 | -0,5028455 |
| 20 | 457,23 | -0,5583364 |
| 30 | 458,07 | -0,6311545 |
| 40 | 458,95 | -0,7039818 |
| 50 | 459,9 | -0,7698727 |
| 60 | 460,78 | -0,8184273 |
| 70 | 461,77 | -0,8773818 |
| 80 | 462,68 | -0,9398182 |
| 90 | 463,6 | -1,0021818 |
| 100 | 464,44 | -1,0715455 |
| 110 | 465,43 | -1,1305455 |
| 120 | 466,31 | -1,1825455 |

2.2.

2.3.

3.

3.1. Dish with substance

| t (s) | Vsamp (mV) | ΔV (mV) |
| --- | --- | --- |
| 0 | 489,69 | 4,0262727 |
| 10 | 490,46 | 3,9672727 |
| 20 | 491,22 | 3,9638182 |
| 30 | 491,98 | 3,9256364 |
| 40 | 492,74 | 3,8562727 |
| 50 | 493,43 | 3,8147273 |
| 60 | 494,27 | 3,78 |
| 70 | 494,92 | 3,6968182 |
| 80 | 495,3 | 3,3742727 |
| 90 | 495,72 | 2,9511818 |
| 100 | 496,03 | 2,5280909 |
| 110 | 496,48 | 2,1154545 |
| 120 | 496,71 | 1,6541818 |
| 130 | 496,75 | 0,9849091 |
| 140 | 497,02 | 0,6311545 |
| 150 | 497,74 | 0,6207545 |
| 160 | 498,5 | 0,6970455 |
| 170 | 499,38 | 0,8323 |
| 180 | 500,22 | 0,9952727 |
| 190 | 501,17 | 1,1756364 |
| 200 | 502,2 | 1,3732727 |
| 210 | 502,93 | 1,571 |
| 220 | 503,81 | 1,7374545 |
| 230 | 504,57 | 1,9073636 |
| 240 | 505,49 | 2,0287273 |
| 250 | 506,32 | 2,1605455 |
| 260 | 506,97 | 2,2506364 |
| 270 | 507,77 | 2,3442727 |
| 280 | 508,23 | 2,3859091 |
| 290 | 509,11 | 2,431 |
| 300 | 509,87 | 2,4656364 |
| 310 | 510,44 | 2,4726364 |
| 320 | 511,13 | 2,5280909 |
| 330 | 511,74 | 2,5280909 |
| 340 | 512,35 | 2,5280909 |
| 350 | 512,92 | 2,5142727 |
| 360 | 513,5 | 2,5211818 |
| 370 | 514,18 | 2,5072727 |
| 380 | 514,64 | 2,5072727 |
| 390 | 515,29 | 2,4969091 |
| 400 | 515,86 | 2,5003636 |
| 410 | 516,28 | 2,4656364 |
| 420 | 517,04 | 2,4621818 |
| 430 | 517,54 | 2,4449091 |
| 440 | 518,07 | 2,4413636 |
| 450 | 518,61 | 2,431 |
| 460 | 519,07 | 2,4101818 |
| 470 | 519,68 | 2,3998182 |
| 480 | 520,13 | 2,379 |
| 490 | 520,71 | 2,3616364 |

(Lam02)

3.2.

3.3.

4.

4.1. Show Vs in Graph 3. Value Vs = 497 mV 1 mV. From that Ts = 59.8 oC  0.5 oC can be deduced.

4.2. Show Vs in Graph 4. Value Vs = 496 mV 1 mV. From that Ts = 59.9 oC can be deduced.

4.3. Error calculations:

Error of Ts:

in which A is an intermediate variable.

Therefore error for Ts can be written as:

, in which … is the error.

Error for A is calculated separately:

in which we have:

Errors of other variables in this experiment:

T0=1oC

V(T0) = 0.2 mV, read on the multimeter.

 = 0.03 mV/oC

V(T0)0.2 mV

V(Ts)1 mV

From the above constituent errors we have:

mV

oC

oC

Task 2

1.

1.1.

2.

2.1. Lamp off

| t (s) | V(T0) (mV) |
| --- | --- |
| 0 | -16,0109 |
| 10 | -16,0218 |
| 20 | -16,0145 |
| 30 | -16,0255 |
| 40 | -16,0009 |
| 50 | -15,9627 |
| 60 | -15,9627 |
| 70 | -15,9727 |
| 80 | -15,9909 |
| 90 | -15,9973 |
| 100 | -16,0009 |
| 110 | -16,0182 |
| 120 | -16,0009 |

2.2. Measured data with the lamp on

| t (s) | V (mV) |
| --- | --- |
| 0 | -19,5591 |
| 10 | -21,9 |
| 20 | -23,87 |
| 30 | -25,5273 |
| 40 | -26,9109 |
| 50 | -28,0827 |
| 60 | -29,0718 |
| 70 | -29,9345 |
| 80 | -30,7745 |
| 90 | -31,4855 |
| 100 | -32,0155 |
| 110 | -32,4564 |
| 120 | -32,9209 |

2.3. Measured data with the lamp off

| t (s) | V (mV) |
| --- | --- |
| 0 | -23,242 |
| 10 | -22,41 |
| 20 | -21,688 |
| 30 | -21,033 |
| 40 | -20,53 |
| 50 | -20,104 |
| 60 | -19,642 |
| 70 | -19,303 |
| 80 | -18,949 |
| 90 | -18,699 |
| 100 | -18,443 |
| 110 | -18,231 |
| 120 | -17,995 |

3.

3.1. 	x=t

y= C*ln(T/T0)

3.2.

3.3. k= 0.00718

4.

4.1.

x=(S/k)*[1-exp(-kt/C)]

y=T

4.2.

4.3. E= 124.72 W/m^2.

5.

5.1.

5.2.

| V (mV) | I (mA) | P (mW) |
| --- | --- | --- |
| 489 | 3,18 | 1,55502 |
| 487 | 3,17 | 1,54379 |
| 485 | 3,25 | 1,57625 |
| 480,3 | 3,88 | 1,863564 |
| 473,2 | 4,67 | 2,209844 |
| 468,5 | 5,07 | 2,375295 |
| 459,1 | 5,98 | 2,745418 |
| 448,8 | 6,73 | 3,020424 |
| 402 | 9,21 | 3,70242 |
| 267 | 11,26 | 3,00642 |
| 182 | 11,47 | 2,08754 |
| 157 | 11,62 | 1,82434 |
| 150 | 11,52 | 1,728 |
| 33,5 | 11,78 | 0,39463 |
| 18,6 | 11,73 | 0,218178 |

5.3.

5.4. Pmax= 3.7 mW  0.2 mW

5.5.

Error calculation:

, in which Sp is the area of the solar cell

is estimated from Graph 7, typical value  5-10 %

error due to millimeter measurement (with the ruler), typical value  5 %

E is calculated from averaging the ratio (using Graph 6):

, in which Rdet is the radius of the detector orifice.

Calculation of error for E:

k is calculated from the regression of:



From the regression, we can calculate the error:

The error can also be estimated from Graph 5.

We set:



Finally:

Typical values for  and other constituent errors:

Finally:

= 5.710-4 m2

1.2. =3.810-4 m2

1.3.

1.4.